# ENTWINE Digital Twin

Symbols, Abbreviations and Nomenclature

This reference table defines the terminology used throughout the ENTWINE Energy Digital Twin project. It covers the Asset Registry, historical State Layer, Intelligence Layer, REST API, dashboard, database objects, electrical measurements, and mathematical notation.

# Symbol / Abbreviation Reference

| Symbol / Abbreviation | Meaning |
| --- | --- |
| ENTWINE | Energy Digital Twin project for representing, monitoring, explaining, and analysing the KCT campus energy system. |
| AI | Artificial Intelligence. |
| API | Application Programming Interface. |
| CAFA | Context-Aware Fairness Audit; the contextual anomaly detection and fairness-analysis framework. |
| CSV | Comma-Separated Values; a source-file format used for alarms, events, incidents, and measurements. |
| DB / SQL | Database / Structured Query Language. |
| DDPM | Denoising Diffusion Probabilistic Model; used by GrCF for normal-manifold warm-start initialization. |
| F1 | F1 score, the harmonic mean of precision and recall. |
| FastAPI | Python framework used to expose the digital twin REST API. |
| GrCF | Granger-regularised Counterfactual explanations; the counterfactual generation framework. |
| GridReason | The contextual intelligence and translation layer that converts model deltas into controlled operator alerts. |
| HTTP / REST | Hypertext Transfer Protocol / Representational State Transfer; the communication style used by the API. |
| JSON | JavaScript Object Notation; the exchange format used for API payloads and counterfactual tensors. |
| JSONB | PostgreSQL binary JSON data type used to store counterfactual output. |
| KCT | Kumaraguru College of Technology. |
| LLM | Large Language Model; an optional controlled local text-generation component in GridReason. |
| LSTM | Long Short-Term Memory recurrent neural network. |
| MAE | Mean Absolute Error; the average absolute difference between predicted and observed real power. |
| ML | Machine Learning. |
| NLP | Natural Language Processing. |
| PH-A-BLK | Canonical building identifier for Powerhouse 1 Block A. |
| PH-A-MAIN | Canonical meter identifier for the main meter of Powerhouse 1 Block A. |
| PostgreSQL | Relational database management system used as the project database. |
| REST | See HTTP / REST. |
| SQLAlchemy | Python database toolkit and ORM/engine layer used for database connections and transactions. |
| TimescaleDB | PostgreSQL extension optimized for time-series data. |
| UTC | Coordinated Universal Time; the standard timezone for stored and processed timestamps. |
| XLS / XLSX | Microsoft Excel workbook formats used by the historical energy reports. |
| XGBoost | Gradient-boosted decision-tree library used for contextual real-power prediction. |
| AE | Autoencoder; a neural network trained to reconstruct normal sequences. |
| CF | Counterfactual; a generated alternative sequence representing expected normal operation. |
| IF | Isolation Forest; the unsupervised detector used to flag isolated observations. |
| PF | Power Factor; ratio/quality indicator describing electrical power utilization. |
| DG | Diesel Generator; an equipment/source label in the Powerhouse dataset. |
| VCB | Vacuum Circuit Breaker; switchgear equipment terminology in the source dataset. |
| kW | Kilowatt; unit of real/active power. |
| kWh | Kilowatt-hour; unit of energy consumption. |
| kVA | Kilovolt-ampere; unit of apparent power. |
| kVAr / kVArh | Kilovolt-ampere reactive / reactive energy units. |
| A | Ampere; unit of electrical current. |
| V | Volt; unit of electrical potential difference. |
| Hz | Hertz; unit of frequency. |
| ρ | A model or evaluation ratio where used; project-specific interpretation must be stated with its threshold. |
| t | A timestamp or time index for an energy measurement. |
| Δx | Difference between an observed feature value and its counterfactual/expected value. |
| x_cf | Counterfactual feature or sequence generated by GrCF. |
| x_obs | Observed feature or sequence from the state layer. |
| A[i,j] | Entry in the Granger causal adjacency matrix; 1 indicates a detected directed causal relationship from feature i to j. |
| SEQ_LEN | Sequence length used by GrCF; 16 consecutive time steps, normally 15-minute intervals. |
| CONTAMINATION | Expected proportion of outliers supplied to the Isolation Forest; configured as 0.033. |
| LAMBDA | Weight applied to a loss or domain penalty during counterfactual optimization. |
| POWER_IDX | Index of the real-power feature in the GrCF feature tensor; index 0. |
| state_telemetry | Database table containing normalized historical telemetry in long format. |
| anomaly_events | Database table containing detector output, counterfactual JSONB, and GridReason explanation. |
| twin_instances | Database view joining a building with its main meter for convenient twin lookup. |
| meter_id | Database identifier linking telemetry and anomaly events to a registered meter. |
| detector_type | Label identifying the detection/explanation combination that created an anomaly event, such as CAFA-GrCF. |
| natural_language_explanation | Database field containing the controlled GridReason operator alert. |
| counterfactual_data | JSONB representation of the GrCF tensor, typically 16 time steps by 10 features. |
| Telemetry | Time-stamped measurements describing the operational state of an energy asset. |
| Asset Registry | Static structural layer describing buildings, meters, equipment, and baseline parameters. |
| State Layer | Historical operational layer containing time-series telemetry, source provenance, and quality records. |
| Intelligence Layer | Model layer containing CAFA, GrCF, GridReason, and orchestration logic. |
| Presentation Layer | API and dashboard layer used to expose results to operators and other applications. |

Note: Where a symbol is model-specific, its interpretation is defined by the current implementation and should be retained when reporting experimental results.